# THE CITY OF MOBILE

# MOBILE, ALABAMA

# PROJECT MANUAL

# FOR

# SERVICE CONTRACT – HVAC MAINTENANCE AND REPAIR CONTRACT FOR CITY-OWNED BUILDINGS

# VARIOUS CITY OF MOBILE FACILITIES

# SC-050-22

# City of Mobile, Alabama
Facility Maintenance Department
850 Owens Street
Mobile, AL  36604
(251) 208-2814

# April 25, 2022

# Bid Date: May 25, 2022

INDEX TO DOCUMENTS

SECTION/DOCUMENT NAME …………………………………NUMBER OF PAGES

BIDDING AND CONTRACT REQUIREMENTS

INVITATION TO BID 									2

INSTRUCTIONS TO BIDDERS 								6

BID FORM 											4

STANDARD SERVICE CONTRACT AGREEMENT 					6

CERTIFICATES:

E-VERIFY 										2

INSURANCE REQUIREMENTS 							3

GENERAL CONDITIONS 									9

SPECIFICATIONS

DIVISION 1 – GENERAL REQUIREMENTS

SECTION 01000 SCOPE OF WORK 						3

# INVITATION TO BID

# You are invited to submit a sealed bid for the following Service Contract:

PROJECT NAME:		SERVICE CONTRACT

# HVAC MAINTENANCE AND REPAIR CONTRACT FOR CITY-OWNED BUILDINGS

# PROJECT LOCATION:	VARIOUS CITY OF MOBILE FACILITIES

# PROJECT NUMBER:	SC-050-22

# All as described in the Specifications (Documents) prepared by the City of Mobile, Facility Maintenance Department.

# l.	BID DATE:

# A.	Sealed formal Proposals of a stipulated sum (fixed price) will be received and clocked 		in until 2:00 P.M., Wednesday, May 25, 2022, in the office of the City Clerk,			Government Plaza, 205 Government St., Mobile, Alabama, South Tower, Ninth 			floor, Room 908

# B.	All Bids not clocked in at the City Clerk's Office prior to the time specified, or Bids 			received after the specified time, will be automatically rejected and returned 				immediately, unopened.

# C.	Bids will be publicly opened and read at 2:30 P.M.  in the Atrium Lobby of Government Plaza, 205 Government St., Mobile, Alabama.

# 2.	BID DOCUMENTS AND SPECIFICATIONS:

# A.	The Project Manual, including all Bid Documents and Specifications, may be obtained from the City of Mobile, Facility Maintenance Department, 850 Owens Street, Mobile, Alabama, 36604, or the City of Mobile’s website: www.cityofmobile.org/bids.  No deposit will be required.

# 3.	BID SECURITY: (Required only if Total Bid is $10,000 or more)

# A.	Cashier's Check drawn on an Alabama bank and made payable to the City of Mobile 			or Bid Bond in the amount of 5% of the Bid Amount but in no event more than 			$10,000, is required to accompany bid.

# B.	Bid Bond shall be valid for a minimum of 60 days from the date of the Bid.

# 4.	 PRE-BID CONFERENCE

A.	There will be a Pre-Bid Conference held on Monday, May 9, 2022 at 10:00am at  the Facility Maintenance Department – 850 Owens Street, Mobile, AL  36602.

B. 	Attendance at the Pre-Bid conference is NOT mandatory. Bidders are encouraged to participate via a conference call. Instructions on how to join the meeting by phone will be available by contacting the Facility Maintenance department.

# 5.	IRREGULARITIES AND REJECTION:

# A.	The City of Mobile reserves the right to waive irregularities in the Bid and in 				Bidding, and to reject any or all Bids.

# END OF SECTION

# INSTRUCTIONS TO BIDDERS

# THE ATTENTION OF ALL BIDDERS IS CALLED TO THE FOLLOWING INSTRUCTIONS:

# 1.	BIDDING DOCUMENTS:

# A. 	Bidders may obtain complete sets of Bid Documents and Specifications 				(Project Manual) from the Facilities Maintenance Department as listed in the 				Invitation to Bid.

# B.	Bidders shall use the complete set of documents in preparing their bid. The 				City of Mobile assumes no responsibility for errors or misinterpretations 				resulting from use of an incomplete set of documents.

# 2.	INTERPRETATION OF BID DOCUMENTS:

# A.	Bidders shall carefully study and compare the Bidding Documents and compare  various components of the Bidding Documents with each other, shall examine the site and local conditions and shall at once report to the Service Contract Administrator errors, inconsistencies or ambiguities discovered.

# B. 	Bidders requiring clarification or interpretation of the Bidding Documents shall make a written request to the Service Contract Administrator at least 	three (3) calendar days prior to the date for receipt of Bids. Email requests are preferred and should be addressed to gregg.blaize@cityofmobile.org

# C. 	Interpretations, corrections and changes to the Bidding Documents will be 				made by a formal, written Addendum. Interpretations, corrections and 				changes to the Bidding Documents made in any other manner will not be 				binding, and Bidders shall not rely on them.

# 3.	BIDDING PROCEDURES:

# A.	No Bid will be considered unless made out and submitted on the Bid Form 				as set forth herein.

# B.	All blanks on the Bid Form shall be legibly executed in a non-erasable 				medium.  Sums shall be expressed in both words and figures. In case of 				discrepancy, the amount written in words shall govern.

# C.	Interlineations, alterations and erasures must be initialed by the signer of the Bid.

# D.	All requested Unit Prices and Allowances shall be bid and the Schedule of 				Values 	completely filled in.

# E.	Addenda issued prior to the opening of Bids shall be acknowledged on the 				Bid Form and any adjustment in cost shall be included in the Contract Sum.

# 4.	BID SECURITY:

# A 	Cashier’s Check drawn on an Alabama bank and made payable to the City of 				Mobile or Bid bond in the amount of 5% of the initial term (one year's) Bid 				Amount, but in no case more than $10,000, is required to accompany Bid if 				Total Bid is $10,000 or more. By submitting a Bid Security, the Bidder 				pledges to enter into a Contract with the City of Mobile on the terms stated 				in the Bid, and will, if required, furnish bonds covering faithful performance 				of the Contract and required insurance certificate. Should the Bidder refuse 				to enter into such Contract or fail to furnish such bonds or insurance, the 				amount of the Bid security shall be forfeited to the Owner as liquidated 				damages, not as a penalty.

# B.	Bid Bond shall be valid for a minimum of sixty (60) days from the date of Bid. The

# Owner reserves the right to retain the security of all Bidders until the successful D.			Bidder enters into the Contract or until sixty (60) days after Bid opening, whichever

# is sooner.

# C.	Bonds must be issued by a Surety licensed to do business in the State of Alabama 			and must be signed or countersigned by a licensed resident agent of the State of 			Alabama. If the project cost is more than $50,000.00 the Surety must have a 				minimum rating of A/Class VI as reported by the latest issue of Best's Key Rating 			Guide Property-Casualty published by Alfred M. Best Company, Inc.

# D.	Power of Attorney is required for all Bonds.

# 5.	EXAMINATION OF DOCUMENTS AND SITE OF THE WORK:

# A.	Before submitting a Bid, Bidders should carefully examine the Specifications, visit 			the site of the Work, fully inform themselves as to existing conditions and 				limitations, and include in the Bid a sum to cover the cost of all items included in the 		Contract and necessary to perform the Work.  The submission of a Bid will be 			considered as conclusive evidence that the Bidder has made such examination.

# 6.	SUBMISSION OF BIDS:

# A.	Bid, Bid Security and other supporting data as specified shall be submitted in a sealed, opaque envelope, approximately 9" x 12" or larger and shall be marked on the outside with the words, “Sealed Bid for SERVICE CONTRACT – HVAC MAINTENANCE AND REPAIR CONTRACT FOR CITY-OWNED BUILDINGS ”, along with the Facility Maintenance Department’s project number, the Bid Date, and Service Contractor's name, address, and City of Mobile license number.

# B.	Bids shall be deposited at the designated location prior to the time and date for 			receipt of Bids. Bids received after the time and date specified in the Invitation to 			Bid, or as modified by Addendum, will not be considered.  Late Bids will be returned 		to the Bidder unopened.

# C.	The Bidder shall assume full responsibility for timely delivery at the location 				designated for receipt of Bids.

# D.	Oral, telephonic, facsimile or other electronically transmitted bids will not be 				considered.

# 7.	MODIFICATION OR WITHDRAWAL OF BIDS:

# A.	A Bid may not be modified, withdrawn, or canceled by the Bidder for a period of 			sixty (60) days following the time and date designated for receipt of bids, and each 			Bidder so agrees in submitting a Bid.

# 8.	CONSIDERATION AND AWARD OF BIDS:

# A.	At the discretion of the City, the properly identified Bids received on time will be 			publicly opened and will be read aloud.

# B.	The City shall have the right to reject any and all Bids. A Bid not accompanied by a 			required Bid security or by other data required by the Bidding Documents, or a Bid 			which is in any way incomplete or irregular is subject to rejection.

# C.	It is the intent of the City to award a Contract to the lowest responsible and 				responsive Bidder provided the Bid has been submitted in accordance with the 			requirements of the Bidding Documents and does not exceed the funds available. 			The City shall have the right to waive informalities and irregularities in a Bid received 		and to accept the Bid which, in the City’s judgment, is in the City’s best interest.

# D.	The award shall be based on the lowest Total Base Bid as listed on the Bid Form.

# 9.	PROOF OF COMPETENCY OF BIDDER:

# A.	Bidders may be required to furnish evidence satisfactory to the City of Mobile that 			they have sufficient means and experience in the types of work called for to assure 			the completion of the Contract in a satisfactory manner.

# 10.	SIGNING OF CONTRACT:

# A.	the Standard Service Contract between City of Mobile and Service Contractor 			included herein shall serve as the Agreement between the City and Service 				Contractor.

# B.	The Bidder to whom the Contract is awarded shall, within ten (10) calendar days of 			receiving the Contract Forms, properly execute and deliver to the Service Contract 			Administrator, the following items with the signed Agreement:

# 1. Certificate of Insurance (original), along with all required endorsements

# 2. Evidence of enrollment in the E-Verify program.

# 3. Service Contractor’s current company W-9 form and City of Mobile’s Vendor 			    Information Form

# 4. Other documentation as required by the Contract Documents.

# C.	Failure or refusal to sign the Agreement or to provide the Bond, Certificates of 			Insurance in a form satisfactory to the City of Mobile, E-Verify verification, or other 			required documentation, shall subject the Bidder to immediate forfeiture of Bid 			Bond or Bid Check.

# 11.	SOCIALLY AND ECONOMICALLY DISADVANTAGED EMPLOYMENT:

# A.	In Compliance with City of Mobile Ordinance No. 65-020, each bidder shall make 			every reasonable effort to have at least fifteen (15) percent of the total value of the 			Contract performed by qualified socially and economically disadvantaged Service 			Contractors, Professionals, or individuals.

# 12.	AMERICANS WITH DISABILITIES ACT (ADA):

# A.	Bidders shall comply with the provisions of the Americans with Disabilities Act 			(ADA) of 1990 which prohibits discrimination against individuals with disabilities.

# 13.	USE OF DOMESTIC PRODUCTS:

# A.	Section 39-3-1, Alabama Code, 1975, provides that the Service Contractor agree, in 			the execution of this Contract, to use materials, supplies and products manufactured, 		mined, processed or otherwise produced in the United States or its territories, if 			available at reasonable prices, and that breach of this Agreement by the Service 			Contractor shall result in the assessment of liquidated damages in an amount not less 		than $500.00 nor more than twenty (20) percent of gross amount of the Contract 			Price.

# 14.	NON-RESIDENT (OUT OF STATE) SERVICE CONTRACTORS:

# A.	Preference to Resident Service Contractors: Section 39-3-5, Code of Alabama, 1975, 			provides that a non-resident (out of State) bidder domiciled in a state which grants a 			preference to local Service Contractors is to be awarded a public contract on the 			same basis as the non-resident bidder's state awards contracts to Alabama bidders.  			Alabama bidders are given a preference to the same extent that a non-resident bidder 		receives a preference in his home state.  A non-resident bidder must include with any 		written bid documents a written opinion of an attorney licensed to practice in the 			non-resident bidder's state declaring what preferences, if any, exists in the non-			resident's state.

# B.	Certificate of Authority: All non-resident (out of State) corporations must register 			with the Secretary of State and obtain a Certificate of Authority before doing 				business in the State of Alabama. Out of state Bidders should register and secure the 			required Certificate before submitting a Bid. The account number shall be included 			on the Bid Form.

# 15.	LOCAL PREFERENCE AWARDS

# A.	The City of Mobile awards contracts to the lowest responsible bidders in 				competitive bidding processes prescribed by Alabama law.  Section 41-16-50 of 			Alabama Code allows the City to establish competitive bid preferences for local 			businesses and certain other types of Alabama businesses.  Here’s how these 				preferences work:

# 1) The Competitive Bid Law applies to the expenditure of funds for labor, 				     services, work, for the purchase of personal property with a value of $15,000 			     or more, and for the lease of personal property where the terms of the lease 	 		     require payment of $15,000 or more.

# 2) State law authorizes local preferences for acquisitions under the Competitive 			     Bid Law.  Local preferences do not apply to contracts for improvements to 			     public property under the Public Works Law.

# 3) Resident Responsible Bidders - The City may award a bid to a responsible 				    bidder with a place of business within the City or its police jurisdiction if the 			    bid is no more than 5% more than the lowest responsible bidder.  The City may 			    apply the 5% preference when the apparent lowest responsible bidder 				    is located anywhere outside the City or its police jurisdiction.

# 4) Foreign Entities - A foreign entity is a business that does not have a place of 			    business within the State.

# 5) Preference for Resident Responsible Bidders against Foreign Entities - The 			    City may award a bid to a responsible bidder with a place of business within 			    the city or its police jurisdiction if the bid is not more than 10% more than the 			    apparent lowest responsible bid submitted by a Foreign Entity.

# 6) Preference for Disadvantaged Businesses - The City may award a bid to a 				    “qualifying” responsible bidder with a place of business anywhere in the State 			    if the bid is not more than 10% more than the apparent lowest responsible bid 			    from a Foreign Entity.  For purposes of this preference, a “qualifying” 				    responsible bidder is: (1)a woman-owned enterprise; (2) an enterprise of small 			    business, as defined in Section 25-10-3; (3) a minority owned business 				    enterprise; (4) a veteran-owned business enterprise; or (5) a disadvantaged-owned 			    business enterprise.

# B. Summary of Preferences:

# Local business has a 5% price preference over a lowest bidder that has a place of 			business in Alabama but not local to the City.  Local business has a 10% price 			preference over a lowest bidder that does not have a place of business 				anywhere in Alabama.  A small, woman-owned; minority-owned; veteran-owned; 			or disadvantaged owned business, that has a place of business in Alabama, has a 			10% preference over a lowest bidder that does not have a place of business in 			Alabama.

# C. City Discretion:

# The City has the sole discretion whether to apply these preferences to a particular 			bid award, and to determine whether a responsible bidder meets the preference 			categories described above.

# D. “Place of Business”:

# The City considers a “place of business” to be a specific location actually occupied, 			either continually or on a regular basis, by the owner or someone in the owner’s 			employment.  It should be a place where the public can engage in commercial 			transactions, or regular, routine operations are conducted by employees in 				furtherance of the business enterprise. An occasional use or occupation of a place 			for business purposes is not sufficient to constitute a place of business.  Mere 			unimproved pieces of property used simply for storage, or locations that serve 			purposes primarily other than that single entity’s “place of business,” such as an 			individual’s home or residence, or an agent’s or attorney’s office who may 				represent multiple parties out of that specific location, do not qualify as a “place of 			business” for these purposes.

# E. “Owned”

# means 51% or greater active ownership by a person or persons of the designated preference category.

# F. Questions to be answered by all vendors (regardless of whether intending to claim a 	   	     preference):

# 1) Do you operate a place of business within the City of Mobile or the City’s police 			    jurisdiction?  If so, please describe the nature and location of your business facility 		    here, addressing the factors mentioned above.

# 2) If you do not have a place of business within the City or the City’s police 				    jurisdiction, do you operate a place of business within the State of Alabama?  If so 		    please describe.

# 3) Should the City consider your business: woman-owned, a small business, minority-			    owned, veteran-owned, or disadvantaged-owned?  If so, please provide any 			    evidence for why the City should consider your business to be characterized in 			    one or more of these categories.  Please submit any current certifications you may 			    have relating to these categories.

# 16.  	ALABAMA IMMIGRATION ACT

# A.	The State of Alabama Immigration Law (Act No. 2011-535 as amended by Act No. 			2012 - 491), requires that Service Contractors not violate federal immigration law or 			knowingly employ, hire for employment, or continue to employ an unauthorized 			alien within the State of Alabama. In addition, Service Contractors are required to 			enroll in the federal E-Verify program and submit verification of enrollment to the 			City.

# 17.  	PUBLIC CONTRACTS WITH ENTITIES ENGAGING IN CERTAIN BOYCOTT ACTIVITIES

## A.	Per State of Alabama Code, Section 41-16-5 (b), (Act No. 2016-312), subject to subsection (c), a governmental entity may not enter into a contract governed by Title 39 or Chapter 16, Title 41, with a business entity unless the contract includes a representation that the business entity is not currently engaged in, and an agreement that the business entity will not engage in, the boycott of a person or an entity based in or doing business with a jurisdiction with which this state can enjoy open trade.

## B.	(c) (1) This section does not apply if a business fails to meet the requirements of

## subsection (b) but offers to provide the goods or services for at least 20 percent 	less than the lowest certifying business entity.

## C.	This section does not apply to contracts with a total potential value of less than 	fifteen thousand dollars ($15,000).

D	Nothing in this section requires a business entity or individual to do business with 			any other particular business entity or individual in order to enter into a contract 			with a governmental entity.

# 18.	CITY OF MOBILE BUSINESS LICENSE

# A.	City of Mobile Business License is required and must be current at time of bidding.

# END OF SECTION

# BID FORM

# The following Bid Format shall be used.  Bids submitted on alternate forms may be rejected. Fill in all blank spaces with an appropriate entry. Bid Form must be signed by an officer of the company and notarized.

# TO:	CITY OF MOBILE

# FACILITY MAINTENANCE DEPARTMENT

# 850 OWENS STREET

# MOBILE, ALABAMA 36604

# PROJECT NAME:	SERVICE CONTRACT – HVAC MAINTENANCE AND REPAIR CONTRACT FOR CITY-OWNED BUILDINGS

# PROJECT LOCATION: 	VARIOUS CITY OF MOBILE FACILITIES

# PROJECT NO.:	            SC-050-22

# In compliance with the Bid Documents and having carefully and thoroughly examined said documents for the subject Work prepared by the City of Mobile, Facility Maintenance Department and dated April 25, 2022; and all Addenda (before submitting any bid it is the Bidder’s responsibility to check with the Facility Maintenance Department for all Addenda or special instructions that may impact the Bid) thereto, receipt of which is hereby acknowledged, the premises and all conditions affecting the Work prior to making this Proposal, the Undersigned Bidder,

# COMPANY NAME:________________________________________________________________

# ADDRESS:_______________________________________PHONE_______________

# CITY OF MOBILE BUSINESS LICENSE NUMBER: ___________________

# SECRETARY OF STATE OF ALABAMA ACCOUNT NUMBER: ___________________

# (Note: The Secretary of State Account Number shall be filled in only by non-resident bidders)

# (Check one)	[ ] (A Corporation)

# [ ] (A Partnership)

# [ ] (An Individual Doing Business)

hereby proposes to furnish all labor, materials, tools, equipment, and supplies and to sustain all the expenses incurred in performing the Work on the above captioned Project in accordance with the terms of the Contract Documents, Section 01000 – Scope of Work, and all applicable laws and regulations for the sum listed below.

# The Work shall commence on the date of written Notice to Proceed, issued by the Owner.  The term of the Contract shall extend for one (1) year from the date of the Notice to Proceed. The Contract shall be based on time and material cost with the Total Contract Sum not to exceed Three Hundred  Thousand and 00/100 Dollars ($300,000.00).

1. BASE BID – MAINTENANCE & REPAIR SERVICES - shall be based on the following Labor Rates:

HVAC Technician:

Hourly Labor Rate 				$___________/hour

(between 8am and 5 pm)

Overtime Labor Rate				$___________/hour

(after 5pm and on weekends)

* Per hour labor rates shall include total labor including all overhead and profit, all travel costs, and all costs for tools, equipment, supplies, minor materials, and other incidentals necessary for complete service.

2. SCHEDULE OF VALUES - for furnishing equipment, parts or other materials:

Parts/Material – Direct Cost plus		   ___________%

* Direct cost shall be based on invoiced amount from supplier/manufacturer and shall include all shipping/delivery costs and all applicable sales and use taxes.

3. BID INCLUDES:

Addendum Number _____, Dated ______

Addendum Number _____, Dated ______

Addendum Number _____, Dated ______

4. BID SECURITY: The undersigned Bidder agrees that the attached Bid Security, payable to the City of Mobile, in the amount of 5 % of the bid amount, but in no event more than $10,000 as is the proper measure of liquidated damages which the City will sustain by the failure of the undersigned to execute the Contract and to furnish Surety Bonds (if required). Said Bid Security shall become the property of the City of Mobile as liquidated damages as specified in the Contract Documents.

# 5. NON-DISCRIMINATION: The undersigned Bidder certifies he/she will comply with Federal, State and local laws concerning discrimination including Section 14.1, Code of the City of Mobile, adopted December 10, 1991.

6. REFERENCES:  Please list a minimum of three (3) professional references, contact information, type of work performed, and date(s) performed.  You may add additional references on a separate sheet, if needed.

A. Reference #1:

Company Name: _________________________________________________

Company Address: _______________________________________________

Telephone: ____________________  Email: ___________________________

Type of Work: ___________________________________________________

Date(s): _________________________________________

B. Reference #2:

Company Name: _________________________________________________

Company Address: _______________________________________________

Telephone: ____________________  Email: ___________________________

Type of Work: ___________________________________________________

Date(s): _________________________________________

C. Reference #3:

Company Name: _________________________________________________

Company Address: _______________________________________________

Telephone: ____________________  Email: ___________________________

Type of Work: ___________________________________________________

Date(s): _________________________________________

# 7. SIGNATURE: If the undersigned Bidder is incorporated, the entire legal title of the company followed by "a corporation" should be used.  If Bidder is an individual, then that individual's full legal name followed by doing business as (d/b/a) and name of firm, if any, should be used.  If Bidder is a partnership, then full name of each partner should be listed followed by "d/b/a" and name of firm, if any.  Ensure that name and exact arrangement thereof is the same on all forms submitted with this Bid. If a word is abbreviated in the official company name, such as "Co.", then use that abbreviation.  If not abbreviated in the official name, spell out.  Bidder agrees not to revoke or withdraw this Bid until sixty (60) calendar days following the time and date for receipt of bids. If notified in writing of the acceptance of this Bid within this time period, Bidder agrees to execute a Contract based on this Bid on the proscribed form within ten (10) calendar days of said notification.

# COMPANY NAME:

# _________________________________________________________________

# (Typed)

# BY: ____________________________________________________________________

# (Signature of Company Officer)

# COMPANY OFFICER: ___________________________________________________

# (Typed)

# TITLE_________________________________________________________________

# (Typed)

# DATE___________________________, 20 ___

# Sworn to and subscribed before me this ___________ day of 20 ____

# ________________________________________________________________________

# Notary Public

# END OF SECTION

# STANDARD SERVICE CONTRACT AGREEMENT BETWEEN

# CITY OF MOBILE AND SERVICE CONTRACTOR

# This AGREEMENT made and entered into this ___________day of ________________, in the year 20____, by and between THE CITY OF MOBILE, by its Mayor, duly authorized party of the first part, hereinafter called the "City",

# And the SERVICE CONTRACTOR:

# City of Mobile Lic. No.:________________________

# for the following PROJECT:

# PROJECT NAME:	SERVICE CONTRACT – HVAC MAINTENANCE AND REPAIR CONTRACT FOR CITY-OWNED BUILDINGS

# PROJECT LOCATION: 	VARIOUS CITY OF MOBILE FACILITIES

# PROJECT NO.:	     	 SC-050-22

# WITNESSETH, that this Service Contractor and City, for the considerations stated herein, agree as follows:

# ARTICLE 1.  Statement of Work to be Performed:

1.1 The Service Contractor shall furnish all labor, materials, tools, equipment, and supplies and to sustain all the expenses incurred in performing the Work on the above captioned Project.  In strict accordance with the Contract Documents as listed in Article 6, all of which are made part hereof, as prepared by or under the direction of the Director of Real Estate and Asset Management.

# ARTICLE 2.  Term of Contract:

# 2.1 The Work shall commence on the date of written Notice to Proceed, issued by the Owner.  The term of the Contract is for one (1) year from the date of the Notice to Proceed.

ARTICLE 3. Contract Sum:

# 3.1 The City shall pay the Service Contractor for the term of the Contract, for time and material, subject to additions and deductions provided therein, in current funds, a Total Contract Sum not to exceed Three Hundred  Thousand and 00/100 Dollars ($300,000.00).

3.2 SCHEDULE OF VALUES: for all Basic Services as specified shall be billed as follows:

Labor Rates:

HVAC Technician:

Hourly Labor Rate 				$___________/hour

(between 8am and 5 pm)

Overtime Labor Rate				$___________/hour

(after 5pm and on weekends)

Parts/Material:

Service Contractor’s Direct Cost plus		   ___________%

# ARTICLE  4.  Payments:

# 4.1 The City shall pay the Service Contractor on account of the Contract as follows:

# A.	Payments shall be made monthly upon completion and inspections of the work

# specified.

### B.	Two (2) original invoices shall be delivered to the Service Contract Administrator for

review. Invoices shall list all facilities serviced and shall provide unit pricing in

accordance with the approved Schedule of Values.

# C.	Payments shall be made in accordance with the accepted Schedule of Values listed in 		the Contract Documents.

# ARTICLE  5.  Termination of the Contract:

# 5.1 The Owner or Service Contractor may terminate the Contract upon thirty (30) days written notice.  The Owner shall pay the Service Contractor for work executed and for proven loss with respect to materials, equipment, tools and reasonable overhead.

# 5.2 The Owner shall not make payment to the Service Contractor for profit and damages, as the result of terminating the Contract.

# ARTICLE 6.  Contract Documents:

# 6.1 The contract documents consist of this Agreement, General Conditions of the Contract, and the Specifications (all of which are bound in the Project Manual), Addenda issued prior to the execution of the Contract, The Service Contractor’s Proposal as accepted by the City, other documents listed in this Agreement, and Modifications issued after the execution of this Agreement, all of which form the Contract, and are as fully a part of the Contract as if attached to this Agreement or repeated herein. An enumeration of the Contract Documents, other than a Modification, appears below:

1. General Conditions, dated April 18, 2022				 	9 pages

2. Specifications, dated April 18, 2022

Section 01000 – Scope of Work				   	3 pages

3. This Instrument (Agreement)					  	6 pages

4. E-Verify Documentation						  	2 pages

5. Certificate of Liability Insurance with Endorsements 		 	3 pages

# ARTICLE 7.  Insurance:

# 7.1 Required coverage:

# 7.1.1 For the term of this Agreement, Service Contractor shall acquire and maintain in full force and effect the following liability and comprehensive insurance issued by a company licensed and qualified to do business in the State of Alabama, which such insurance shall name the City of Mobile as an additional insured, and shall attach to this contract as proof thereof a certificate of insurance issued by an agent licensed and qualified to do business in the State of Alabama:

# A. Comprehensive Liability insurance (occurrence form) including coverage for premises, products and complete operations, and blanket contractual liability, specifically covering the obligations assumed by the Service Contractor.

# 1. Bodily injury liability:

# $1,000,000 each person

# $1,000,000 each occurrence

# 2. Property damage liability - $1,000,000 each occurrence.

# 3. Or, in lieu of (1) and (2) above:

# Bodily injury and property damage combined –$1,000,000 per occurrence

# 4. General Aggregate limit shall apply on a “Per Project” Basis.

# B. Comprehensive – Automobile Liability Insurance to cover any auto, including all owned, non-owned, and hired vehicles.

# 1. Bodily injury liability:

# $1,000,000 each person

# $1,000,000 each occurrence

# 2. Property damage liability - $1,000,000 each occurrence.

# 3. Or, in lieu of (1) and (2) above)

# Bodily injury and property damage combined – $1,000,000 per occurrence

# C. Excess/Umbrella Liability insurance

# 1. $2,000,000 combined single limit of liability each occurrence for bodily injury 			    and/or property damage.

# 2. Providing following form coverage for Employer’s Liability,

# Comprehensive General Liability and Automotive Liability.

# D. Workers' Compensation insurance - in the amounts required by all applicable laws, rules 	  	     or regulations of the state of Alabama.

# 7.1.2 If the certificate of insurance referenced in this Agreement does not evidence insurance of owned vehicles, said certificate and this sentence shall evidence the Service Contractor’s covenant that it does not own any vehicles and that it will not purchase or obtain any vehicles during the term of this Agreement.  Said  certificate shall require that said insurance coverage will not be altered or terminated unless City shall have been given written notice of such alteration or termination delivered to City not less than thirty (30) days before the effective date of such alteration or termination.

# 7.1.3 Waiver of Subrogation - all policies of insurance shall be endorsed to waive rights of subrogation in favor of City of Mobile.

# 7.1.4 Additional Insured - all policies of insurance, except those referenced under 7.1.1 D, shall be endorsed to name City of Mobile as an Additional Insured

# 7.1.5 Primary Insurance - all policies of insurance, except those referenced under 7.1.1 D, shall be endorsed to provide that all such insurances are primary and non-contributing with any other insurance maintained by City of Mobile.

# 7.1.6 Certificates of Insurance - prior to execution of the Agreement, Service Contractor shall deliver to the City of Mobile certificates of insurance certifying the existence and limits of the insurance coverages, noting applicable endorsements, described above, and shall deliver same and renewals thereof to the City of Mobile. The certificates shall provide that such insurance shall not be subject to cancellation, non-renewal nor material change without 30 days or more (except 10 days for non-payment) prior written notice thereof to the City of Mobile.

# 7.2 General

# 7.2.1 A Surety authorized to do business in the State of Alabama shall execute and furnish all insurance. Insurance produced outside of the State of Alabama must be signed or countersigned by a Resident Agent, with resident agent’s name, address and telephone number typed or printed on form.

# ARTICLE 8.  Miscellaneous Provisions

# 8.1 Breach of Contract:  In the event of any breach or apparent breach by Service Contractor of any of its obligations under the terms of this Agreement, and in the further event that City shall engage the services of any attorney to protect or to enforce its rights with respect to said breach or apparent breach, then and in those events, Service Contractor agrees to pay and to reimburse any and all reasonable attorneys’ fees and expenses which City may incur with respect to City’s enforcement of this Agreement; regardless of whether said attorneys’ fees and costs shall be incurred in connection with any litigation or in connection merely with advice and representation provided without litigation.

# 8.2 Indemnification:  Service Contractor  shall indemnify, defend and hold harmless City and its officers, elected officials, agents, representatives, and employees in respect of any and all claims, injuries, losses, diminution in value, damages, liabilities, whether or not currently due, and related expenses (including without limitation, settlement costs and any legal or other expenses for investigating or defending any actions or threatened actions) arising from or in connection with the contractor’s performance under this agreement, including but not limited to, environmental laws, regulations, orders and decrees of whatever character or nature and damage or injury to persons or property. Service Contractor   hereby confirms and agrees that Service Contractor   is not a ‘design professional’ as defined in Alabama Act 2021-318, and not required to carry professional liability insurance for the performance or obligations of this contract. Service Contractor   shall indemnify, defend and hold harmless City and its officers, elected officials, agents, representatives, and employees in respect of any and all claims, injuries, losses, diminution in value, damages, liabilities, whether or not currently due, and related expenses (including without limitation, settlement costs and any legal or other expenses for investigating or defending any actions or threatened actions) arising from or in connection with Service Contractor’s performance under this agreement, including but not limited to, environmental laws, regulations, orders and decrees of whatever character or nature and damage or injury to persons or property.

# 8.3 Entire Agreement:  This Agreement is the final expression of the agreement between the parties, and the complete and exclusive statement of the terms agreed upon, and shall supersede all prior negotiations, understandings or agreements.  There are no representations, warranties, or stipulations, either oral or written, not contained herein.

# 8.4 Governing Law and Venue:  This Agreement shall be governed by the laws of the State of Alabama, and the appropriate venue for any actions arising out of this Agreement shall be a court of proper jurisdiction in Mobile, Alabama.

# 8.5 Licenses, permits, etc.:  Service Contractor shall obtain, at its own expense, all necessary professional licenses, permits, insurance, authorization and assurances necessary in order to abide by the terms of this Agreement.

# 8.6 No Agency Relationship Created:  Service Contractor, in the performance of its operations and obligations hereunder, shall not be deemed to be an agent of the City but shall be deemed to be an independent contractor in every respect and shall take all steps at its own expense, as City may from time to time request, to indicate that it is an independent contractor.  City does not and will not assume any responsibility for the means by which or the manner in which the services by Service Contractor provided for herein are performed, but on the contrary, Service Contractor shall be wholly responsible therefore.

8.7 Anti-discrimination:  Contractor shall comply with all Federal, State and local laws concerning nondiscrimination, including but not limited to City of Mobile Ordinance No. 14-034 which requires, inter alia, that all contractors performing work for the City of Mobile not discriminate on the basis of race, creed, color, national origin or disability, require that all subcontractors they engage do the same, and make every reasonable effort to assure that fifteen percent of the work performed under contract be awarded to socially and economically disadvantaged individuals and business entities.

# 8.8 Assertion of Rights:  Failure by the City to assert a right or remedy shall not be construed as a waiver of that right or remedy.

8.9 Immigration Law:

The State of Alabama Immigration Law: The Service Contractor agrees that it shall comply with all of the requirements of the Beason-Hammond Alabama Taxpayer and Citizen Protection Act, Act No. 2011-535, Alabama Code (1975) Section 31-13.1, et, seq., as amended by Act No. 2012-4-91. Compliance shall be evidenced by verification of enrollment in the E-Verify Program.

8.10 Public contracts with entities engaging in certain boycott activities: Per State of Alabama Code, Section 41-16-5 (b), (Act No. 2016-312), subject to subsection (c), a governmental entity may not enter into a contract governed by Title 39 or Chapter 16, Title 41, with a business entity unless the contract includes a representation that the business entity is not currently engaged in, and an agreement that the business entity will not engage in, the boycott of a person or an 	entity based in or doing business with a jurisdiction with which this state can enjoy open trade.

This section does not apply if a business fails to meet the requirements of subsection (b) but offers to provide the goods or services for at least 20 percent less than the lowest certifying business entity

This section does not apply to contracts with a total potential value of less than fifteen thousand dollars ($15,000).

Nothing in this section requires a business entity or individual to do business with any other particular business entity or individual in order to enter into a contract with a governmental entity.

By signing this contract, the contracting parties affirm, for the duration of the   agreement, that they will not violate federal immigration law or knowingly employ, hire for employment, or continue to employ an unauthorized alien within the State of Alabama.  Furthermore, a contracting party found to be in violation of this provision shall be deemed in breach of the agreement and shall be responsible for all damages resulting therefrom.

By signing this contract, Service Contractor further represents and agrees that it is not currently engaged in, nor will it engage in, any boycott of a person or entity based in or doing business with a jurisdiction with which the State of Alabama can enjoy open trade.

# ARTICLE 9. Signature:

# IN WITNESS WHEREOF, the parties to these presents have hereunto set their hand and seal; the Mayor of the City of Mobile, acting under and by virtue of such office and with full authority, and the Service Contractor by such duly authorized officers or individuals as may be required by law.

# OWNER: City of Mobile				SERVICE CONTRACTOR:

# ________________________________		______________________________

# Signature						Signature

# Mayor, City of Mobile					______________________________

# Printed Name and Title				Printed Name and Title

# ATTEST:

# ______________________________

# City Clerk

END OF SECTION

END OF SECTION

City of Mobile Insurance Requirements

Contractor

Insurance – For the duration of this agreement, the Contractor shall maintain the following minimum amounts for this project:

- Workers Compensation/Employer’s Liability:

- Workers Compensation insurance in the amounts required by all applicable laws, rules or regulations of the State of Alabama.

- Employers Liability with limits of not less than:

Bodily Injury by Accident		$1,000,000 each accident

Bodily Injury by Disease		$1,000,000 policy limit

Bodily Injury by Disease		$1,000,000 each employee

- Borrowed Servant/Alternate Employer endorsement in favor of City of Mobile.

- Comprehensive General Liability Insurance:

- Comprehensive General Liability (occurrence form) including coverage for products/completed operations, independent contractors, blanket contractual liability specifically covering the obligations assumed by Contractor.

- Limits of Liability: $1,000,000 combined single limit of liability each occurrence bodily injury or property damage.

- General Aggregate Limit shall apply on a “Per Project” Basis.

- Automobile Liability Insurance:

- Automobile Liability Insurance to cover any auto, including all owned, non-owned, and hired vehicles, with a $1,000,000 combined single limit of liability each accident for bodily injury and/or property damage.

- Excess/ Umbrella Liability Insurance

- Provide following form coverage for Employer’s Liability, Comprehensive General Liability, and Automobile Liability.

- Limit of Liability: $2,000,000 combined single limit of liability each occurrence for bodily injury or property damage.

END OF SECTION

# GENERAL CONDITIONS

April 18, 2022

# 1.	GENERAL REQUIREMENTS:

# A.	The Contract Documents: The Contract Documents are enumerated in the Agreement between the Standard Service Contract Agreement Between the City of Mobile and the Service Contractor (hereinafter called the Agreement) and consist of the Bidding and Contract Requirements, Specifications, Addenda issued prior to execution of the Contract, other documents listed in the Agreement and Modifications issued after the execution of the Contract.  A Modification is a written amendment to the Contract signed by both parties.

# B.	The Contract: The Contract Documents form the Contract for Services. The Contract represents the entire and integrated agreement between the parties hereto and supersedes prior negotiations, representations, or agreements, either written or oral. The Contract may be amended or modified only by a written Modification.

# C.	The Work: The term “Work” means the services required by the Contract				Documents, whether completed or partially completed, and includes all other				labor, materials, equipment and services provided or to be provided by the				Service Contractor to fulfill the Service Contractor’s obligations.

# D.	The Project Manual: The Project Manual is the comprehensive document				containing the Bidding and Contract Requirements, the Specifications and other			documents as listed.

# E.	The Bidding and Contract Requirements: The Bidding and Contract				Requirements are that part of the Contract Documents consisting of the				Invitation to Bid, Instructions to bidders, Service Contractor’s Bid, Agreement, 			Bonds, and General Conditions and other requirements listed in the Agreement.

# F.	The Specifications: The Specifications are that part of the Contract Documents			consisting of written requirements for Services including materials, equipment, 			systems, standards and workmanship for the Work, and performance of related			services.

# G.	Correlation and Intent of the Contract Documents: The intent of the Contract			Documents is to include all items necessary for the proper execution and				completion of the Work by the Service Contractor. The Contract Documents are			complimentary, and what is required by one shall be as binding as if required by			all; performance by the Service Contractor shall be required only to the extent 			consistent with the Contract Documents and reasonably inferable from them as			being necessary to produce the indicated results.

# 2.	THE OWNER:

# A.	The “Owner” is the City of Mobile, as identified in the Agreement and is referred to throughout the Contract Documents as if singular in number. The Owner’s designated representative is the Facility Maintenance Department, Service Contract Administrator.

# 3.	THE SERVICE CONTRACTOR:

# A.	The Service Contractor is the person or entity identified as such in the				Agreement and is referred throughout the Contract Documents as if singular in			number. The Service Contractor shall be lawfully licensed in the City of Mobile			and the State of Alabama as required. The Service Contractor shall designate in			writing a representative who shall have express authority to bind the Service				Contractor with respect to all matters under this Contract. The term “Service				Contractor” means the Service Contractor or the Service Contractor’s authorized			representative.

# B.	The Service Contractor shall perform the Work in accordance with the Contract			Documents.

# C.	Execution of the Contract by the Service Contractor is a representation that the Service	Contractor has visited the site(s), become generally familiar with local conditions under which the Work is to be performed and correlated personal observations with requirements of the Contract Documents.

# D.	The Service Contractor shall be responsible to the Owner for acts and omissions of the Service Contractor’s employees and their agents, and other persons or entities performing portions of the Work for, or on behalf of, the Service Contractor.

# E.	Unless otherwise provided in the Contract Documents, the Service Contractor shall provide and pay for labor, materials, equipment, tools, transportation, and other facilities and services necessary for proper execution and completion of the Work.

# F.	The Service Contractor’s technicians or workmen shall be qualified and have had			sufficient education, training and experience to perform all Work properly and 			satisfactorily as prescribed in the Contract Documents.

# G.	The Service Contractor shall pay all applicable sales, consumer, use and similar taxes for the Work provided by the Service Contractor that are legally enacted when bids are received or negotiations concluded, whether or not yet effective or merely scheduled to go into effect.

# H.	Unless otherwise provided in the Contract Documents, the Service Contractor shall secure and pay for all applicable permits, fees, licenses, and inspections by government agencies necessary for proper execution and completion of the Work that are customarily secured after execution of the Contract and legally required at the time bids are received or negotiations concluded.

# I.	The Service Contractor shall perform the Work in accordance with the specified 			schedules as listed in the Contract Documents.

# J.	The Service Contractor shall confine operations at each site to areas permitted by the City of Mobile, facility director or building manager, and shall not unreasonably encumber the site with materials or equipment.

# K.	The Service Contractor shall keep the premises and surrounding area free from accumulation of waste materials or rubbish caused by operations under the Contract.  At completion of the Work, the Service Contractor shall remove all waste materials, rubbish, tools, equipment and surplus materials from and about the site.  If the Service Contractor fails to clean up as provided in the Contract Documents, the Owner may do so and Owner shall be entitled to reimbursement from the Service Contractor.

# L.	To the fullest extent permitted by law the Service Contractor shall indemnify				and hold harmless the City of Mobile, it’s agents and employees from and				against claims, damages, losses and expenses, including but not limited to				attorneys’ fees, arising out of or resulting from performance of the Work, 				provided that such claim, damage, loss or expense is attributable to bodily				injury, sickness, disease or death, or to injury to or destruction of tangible 				property (other than the Work itself), but only to the extent caused by the 				negligent acts or omissions of the Service Contractor, anyone directly or 				indirectly employed by him or anyone for whose acts he may be liable, 				regardless of whether or not such claim, damage, loss or expense is caused in 				part by a party indemnified hereunder.  Such obligation shall not be construed to			negate, abridge, or reduce other rights or obligations of indemnity which would			otherwise exist as to a party or person described in this Section.  In claims				against any person or entity indemnified by an employee of the Service Contractor 			anyone directly or indirectly employed by them or anyone for whose acts they 			may be liable, the indemnification obligation shall not be limited by a limitation			on amount or type of damages, compensation or benefits payable by or for the 			Service Contractor under workers’ compensation acts, disability benefit acts or 			other employee benefit acts.

# 4.	CHANGES IN THE WORK:

# A.	Changes in the Work may be accomplished after execution of the Contract, and without invalidating the Contract, by a written modification based upon agreement between the City and the Service Contractor.

# B.	Changes in the Work shall be performed under applicable provisions of the 				Contract Documents, and the Service Contractor shall proceed promptly, unless 			otherwise directed.

# 5.	SCHEDULE:

# A.	STARTING WORK: The date of commencement of the Contract is the date established in a written Notice to Proceed.  No Work shall commence and no materials shall be ordered before the Notice to Proceed has been issued.

# B.	The term “day” as used in the Contract Documents shall mean calendar day unless 			otherwise specifically defined.

# 6.	PAYMENTS:

# A.	CONTRACT SUM:  The Contract Sum is stated in the Agreement and, including authorized adjustments, is the total amount payable by the City to the Service Contractor for performance of the Work under the Contract Documents.

# B.	SCHEDULE OF VALUES:  The Schedule of Values allocating the entire Contract Sum to the various portions of the Work, shall be used as a basis for reviewing the Service Contractor’s Invoices for Payment.

# C.  	METHOD OF PAYMENT:  The City shall pay the Service Contractor on the account of the Contract as follows:

1) Payments shall be made upon completion of the specified work.

2) Two (2) original invoices shall be delivered to the Service Contract Administrator 			for review and approval on the first day of the month following contract 				services. Invoices shall include date of service, facility serviced, a detailed 				description of all services performed along with number of hours required to such 			perform services, and copies of receipts listing actual manufacturer/supplier cost			plus freight (if applicable) and all applicable sales and use taxes.

3) Payments shall be made in accordance with the accepted Unit Prices as listed in 			the Contract Documents

# 7.	SAFETY:

# A.	The Service Contractor shall be responsible for initiating, maintaining and supervising all safety precautions and programs in connection with the performance of the Contract.

# B.	The Service Contractor shall comply with all Federal, State and Local law regarding safety including the requirements of the Occupational Safety and Health Act of 1970, Public Law #91-596, latest revision. Service Contractor shall take all other reasonable precautions for safety of, and shall provide reasonable protection to prevent damage, injury or loss to:

# 1) employees on the Work and other persons who may be affected thereby;

# 2) the Work and materials and equipment to be incorporated therein;

# 3) other property at the site or adjacent thereto.

# C.	The Service Contractor shall comply with and give notices required by applicable laws, statutes, ordinances, codes, rules and regulations, and lawful orders of public authorities bearing safety of persons or property or their protection from damage, injury or loss.

# D.	If either party suffers injury or damage to person or property because of an act or omission of the other party, or of others for whose acts such party is legally responsible, written notice of such injury or damage, whether or not insured, shall be given to the other party within a reasonable time not exceeding 21 days after discovery.  The notice shall provide sufficient detail to enable the other party to investigate the matter.

# E.	The Service Contractor is responsible for compliance with any requirements included in the Contract Documents regarding hazardous materials.  If the Service Contractor encounters a hazardous material or substance not addressed in the Contract Documents and if reasonable precautions will be inadequate to prevent foreseeable bodily injury or death to persons resulting from a material or substance, including but not limited to asbestos or polychlorinated biphenyl (PCB), encountered on the site by the Service Contractor, the Service Contractor shall, upon recognizing the condition, immediately stop Work in the affected area and report the condition to the City in writing.

# F.	In an emergency affecting safety of persons or property, the Service Contractor shall act, at the Service Contractor’s discretion, to prevent threatened damage, injury or loss.

# 8.	INSURANCE:

# A.	The Service Contractor shall purchase from and maintain in a company or companies lawfully authorized to do business in the jurisdiction in which the Work is located such insurance as will protect the Service Contractor from 	claims set forth below which may arise out of or result from the Service Contractor’s operations and completed operations under the Contract and for which the Service Contractor may be legally liable, whether such operations be by the Service Contractor or by anyone directly or indirectly employed by any of them, or by anyone for whose acts any of them may be liable:

# 1) Claims under workers’ compensation, disability benefit and other

# similar employee benefit acts that are applicable to the Work to be performed

# 2) Claims for damages because of bodily injury, occupational sickness or disease, or death of any person other than the Service Contractor’s employees;

# 3) Claims for damages because of bodily injury, sickness or disease, or death of any person other than the Service Contractor’s employees;

# 4) Claims for damages insured by usual personal injury liability coverage;

# 5) Claims for damages, because of injury to or destruction of tangible

# property, including loss of use resulting therefrom;

# 6) Claims for damages because of bodily injury, death of a person or

# property damage arising out of ownership, maintenance or use of a motor vehicle;

# 7) Claims for bodily injury or property damage arising out of completed

# operations; and

# 8) Claims involving contractual liability insurance applicable to the Service

# Contractor’s obligations.

# B.	The Service Contractor shall take out and maintain during the life of the Contract not less than the following minimum amounts of insurance.

# 1) Worker's Compensation and Employer's Liability:

# Statutory - amount and coverage as required by law of place in which the		work is performed.

# 2) Comprehensive General Liability:

# The Service Contractor shall provide Broad Form (commonly termed					Comprehensive) General Liability Insurance (including premises product-				completed operations) for limits of liability not less than:

# a) Bodily Injury		$1,000,000 each person

# $1,000,000 each occurrence

# b) Property Damage		$1,000,000 each occurrence

# c) Or Bodily Injury	$1,000,000 combined single limit and Property Damage

# Such comprehensive policy shall include the following:

# a) All liability of the Service Contractor, for the Service

# Contractor's Direct Operations.

# b) Completed Operations Coverage, thereby meaning any 						    loss which shall occur after the Contract has been

# completed, but which can be traced back to the Contract.

# c) Contractual Liability, meaning thereby, any risk assumed by	    					    the Service Contractor under Hold Harmless Agreements

# or any other assumption of liability, but specifically item (6).

# d) Broad Form Property Damage Coverage, including Completed Operations.

# e) Personal Injury Liability, with employee’s exclusions     removed.

# f) The Service Contractor shall indemnify and save harmless the Owner against all loss, cost, or damage on account of injuries to persons or property occurring in the performance of the Contract, including all reasonable attorney's fees incurred by the Owner, on account thereof.

# g) Care, custody, and control for property in the care, custody and control of the Service Contractor.

# 3) Comprehensive Automobile Liability:

# The Service Contractor shall carry for himself and shall require that all 				owners of automobile or trucks rented or hired on the Contract carry until 				the Contract is completed, Comprehensive Automobile Liability Coverage				for Bodily Injury and Property Damage in amounts not less than the 					minimum amounts as indicated.  The Service Contractor shall also carry for 				himself insurance for all non-owned and hired automobile at the limits of				liability as indicated below:

# a) Bodily Injury		$1,000,000 each person

# $1,000,000 each occurrence

# b) Property Damage		$1,000,000 each occurrence

# c) Or Bodily Injury and	$1,000,000 combined single limit Property Damage

# 4) Excess/Umbrella Liability:

# a) $2,000,000 combined single limit of liability each occurrence for 					    bodily injury and/or property damage.

# C. 	Certificates of insurance acceptable to the Owner shall be filed with the Owner at the time of signing of the Contract, and thereafter upon renewal or replacement of each required policy of insurance. These certificates and the insurance policies required by this Section shall contain a provision that coverage afforded under the policies will not be canceled or allowed to expire until at least 30 days’ prior written notice has been given to the Owner.

# Such certificates of insurance shall state that thirty (30) days advance written notice will be given in the event of cancellation or material change in the coverage.

# D.	Surety Qualifications:  All insurance must be furnished by a Surety licensed to do business in the State of Alabama, must be signed or countersigned by a Licensed Resident Agent of the State of Alabama, and if bid price exceeds $50,000 have a minimum rating of A/Class VI as reported in the latest issue of Best's key Rating Guide Property-Casualty.

# E.	The insurance required by Section 8.B (above) shall be written for not less than limits of liability specified or required by law, whichever coverage is greater. Coverage, whether written on an occurrence or claims-made basis, shall be maintained without interruption from the date of commencement of the Work until completion of the Contract.

# F.	The Service Contractor shall cause the commercial liability coverage required by the Contract Documents to include (1) the Owner, as an additional insured for claims caused in whole or in part by the Service Contractor’s negligent acts or omissions during the Service Contractor’s operations; and (2) the Owner as an additional insured for claims caused in whole or in part by the Service Contractor’s negligent acts or omissions during the Service Contractor’s completed operations.

# 9.	MISCELLANEOUS PROVISIONS:

# A.	The Contract shall be governed by the law of the State of Alabama.

# B.	The Owner and Service Contractor respectively bind themselves, their partners, successors, assigns and legal representatives to covenants, agreements and obligations contained in the Contract Documents. Neither party to the Contract shall assign the Contract as a whole without written consent of the other. If either party attempts to make such an assignment without such consent, that party shall nevertheless remain legally responsible for all obligations under the Contract.

# C.	No assignment of the Contract shall be made without the written permission of Surety providing bonding and the City of Mobile.

# D.	Duties and obligations imposed by the Contract Documents and rights and remedies available thereunder shall be in addition to and not a limitation of duties, obligations, rights and remedies otherwise imposed or available by law.

# E.	No action or failure to act by the Owner or Service Contractor shall constitute a			waiver of a right or duty afforded them under the Contract, nor shall such action			or failure to act constitute approval of or acquiescence in a breach there under,			except as may be specifically agreed in writing.

# F.	Tests, inspections and approvals of portions of the Work shall be made as

# required by the Contract Documents and by applicable laws, statutes, ordinances,

# codes, rules and regulations or lawful orders of public authorities. The Service

# Contractor shall give the Owner timely notice of when and where tests and

# Inspections are to be made so that the Service Contract Administrator or other City 			personnel may be present for such procedures.

# G.	Required testing or inspection reports along with approvals shall, unless

# otherwise required by the Contract Documents, be delivered to the Owner with Invoices for Payment.

# H.  	On all jobs with the City of Mobile, A City License is required. Bidders may obtain

# information on licensing by writing the City Revenue Department, Post Office Box

# 1827, Mobile, AL  36633-1827 or calling 208-7454. Successful Bidder must have City

# License at the time of Bidding.

# I.	Service Contractors shall abide by provisions of Ordinance #02-050, 1968,				prohibiting discrimination in employment by Service Contractors and Subcontractors			performing Work for the City of Mobile.  A copy of said Ordinance is on file in			the office of the Service Contract Administrator.

# J. 	The Service Contractor shall secure and pay all required fees and permits and 			shall pay all taxes on materials, supplies, fixtures and equipment purchased by 			him (including the city of Mobile sales tax), and shall comply with all laws, 				regulations and codes applicable to the site on which the Work is to be performed.

# K. 	All work performed shall be in conformance with the appropriate codes of the City of Mobile.

# 10.	TERMINATION OR SUSPENSION OF THE CONTRACT:

# A. 	The Owner may terminate the Contract for cause if the Service Contractor

# 1) fails to perform service in a satisfactory manner; or

# 2) repeatedly refuses or fails to supply properly skilled workers or proper equipment or materials; or

# 3) repeatedly disregards applicable laws, statutes, ordinances, codes, rules and				    regulations, or lawful orders of a public authority; or

# 4) otherwise is guilty of substantial breach of a provision of the Contract				    Documents.

# B. 	When any of the above reasons exist, the Owner, upon determination that sufficient cause exists to justify such action, may without prejudice to any other rights or remedies of the Owner and after giving the Service Contractor and the Service Contractor’s surety, if any, seven (7) days’ written notice, withhold payments and terminate the Contract.

# C.	The Owner may, at any time, terminate the Contract for the Owner’s convenience and without cause upon thirty (30) days written notice.

# D. 	In case of such termination for cause or for the Owner’s convenience, the Service Contractor shall be entitled to receive payment for Work executed, and costs incurred.  The Owner shall not make payment for profit or damages as a result of such termination.

# 11.	CLAIMS AND DISPUTES

# A. 	Claim is a demand or assertion by one of the parties seeking, as a matter of right, payment of money, or other relief with respect to the terms of the Contract.  The term "Claim" also includes other disputes and matters in question between the Owner and Service Contractor arising out of or relating to the Contract.  The responsibility to substantiate Claims shall rest 	with the party making the Claim.

# B. 	Claims by either the Owner or Service Contractor must be initiated within 21 days after occurrence of the event giving rise to such Claim or within 21 days after the claimant acting with due diligence, reasonable should have first recognized the condition giving rise to the Claim, whichever is later.  Claims must be initiated by written notice to the Service Contractor and the other party.

# C. 	In the event of a Claim against the Service Contractor, the Owner may, but is not obligated to, notify the surety, if any, of the nature and amount of the Claim. If the Claim relates to a possibility of a Service Contractor’s default, the Owner may, but is not obligated to, notify the surety and request the surety’s assistance in resolving the controversy.

# D. 	Claims, disputes, or other matters in controversy arising out of or related to the Contract shall be subject to litigation.

END OF SECTION

# SECTION 01000 – SCOPE OF WORK

HVAC MAINTENANCE AND REPAIR

______________________________________________________________________________

General:

Service Contractor shall furnish all labor, materials and parts, tools and equipment necessary to service, maintain, and repair existing heating, ventilation, and air conditioning (HVAC) equipment, or install new equipment, for selected City-owned facilities. The facilities include, but shall not be limited to, the following:

- Mobile Animal Shelter - 855 Owens Street

- Azalea City Golf Course - 1000 Gaillard Dr.

- Hurtel (Wright) Armory – 1900 Hurtel Street

- Library Administration – 700 Government Street

- Library Local History and Genealogy – 753 Government Street

- Ben May Main Library – 701 Government Street

- Municipal Archives – 457 Church Street

- History Museum of Mobile – 111 South Royal

- Police Special Operations – 850 St. Anthony Street

- Public Works Garage – 770 Gayle Street

- Public Works Administrative/Service Buildings – 770 Gayle Street

- Tillman’s Corner Community Center – 5055 Carol Plantation Road

- West Regional Library – 5555 Grelot Road

- Western Administrative Complex (WAC) – 4851 Museum Drive

- Police Central Headquarters – 2460 Government Street

- FS 3 – Central Fire Station – 701 St. Francis Street

- Gulf Coast Exploreum – 65 Government Street

- Mobile Civic Center – 401 Civic Center Drive

- Connie Hudson Mobile Regional Senior Community Center- 3200 Hill Crest Road

- Mobile Museum of Art- 4850 Museum Drive

A general description of the heating, ventilation, and air conditioning equipment to be serviced at the above listed facilities is listed under HVAC Maintenance and Repair – Facility Equipment List (attached as Exhibit A).

Maintenance and Repair Service:

Service Contractor shall provide necessary maintenance and repair services to keep the specified equipment and other associated equipment in good and working order. Required HVAC/building controls and fire alarm work will be completed by Owner under a separate contract.

All work shall be under the direction of the City of Mobile, Facility Maintenance, Mechanical Systems Department. All maintenance and repair service shall be scheduled by the Director of Facility Maintenance or his designated representative.

Upon receiving a request for maintenance and repair service, Service Contractor shall dispatch a single HVAC Technician to inspect/diagnose the problem and provide an estimate of number of hours of labor, number of HVAC technicians or other staff required if more than one, and cost of parts or equipment required to complete the Work. No work shall begin and no parts or equipment shall be ordered prior to approval, in writing, by the Facility Maintenance Department. Service Contractor shall notify the Facility Maintenance Department immediately of any obstacles encountered that may be preventing Service Contractor from completing assigned projects. All work shall be inspected and approved by a representative of the Facility Maintenance Department prior to final payment.

All labor shall be billed at the scheduled hourly billing rate as stipulated in the Agreement. The hourly billing rates shall include all costs for direct time, benefits, taxes, all overhead and profit and other indirect expenses. Parts and equipment shall be billed at the Service Contractor’s direct cost, including shipping if required, from manufacturer or supplier plus a percentage multiplier for overhead and profit as stipulated in the Agreement.

Time of Performance:

Normal working hours are considered to be Monday through Friday 8:00 a.m. to 5:00 p.m. Response times for the contractor to respond to a given request by the City are as follows:

Scheduled maintenance and repair service:

within twenty-four (24) hours

Emergency repair service:

Monday through Friday between 8:00	am and 5:00 pm - within one (1) hour

Monday through Friday after 5:00 pm and on weekends  - within

two (2) hours.

City facilities will generally remain operational during maintenance and repair services. Maintenance and repair work shall be carried out in such a way to minimize disruption to facility operations, facility staff or to the general public. Service Contractor shall coordinate all work with the Facility Maintenance Department.

Upon arrival at a facility, the Service Contract Technician(s) shall check in with the facility staff to make them aware of the work to be accomplished, anticipated times for service, and any shut-downs or other disruptions that may be necessary to complete the work. Upon completion, the Service Contractor Technician shall notify the facility manager and Facility Maintenance Department representative.

All work shall be done in accordance with all State and Local Codes and all Federal Regulations.

Payments will be made monthly for completed services upon approval of Service Contractor’s invoice for services. Invoices shall specify the facility, exact services performed, date and time of service, technician(s) or other staff providing services, copies of manufacturer/supplier invoices, or other information required for approval by the Facility Maintenance Department.

For purposes of billing, invoiced time shall include the number of hours Service Contract Technician(s) was actively engaged in repair or maintenance work for the specified facility, including reasonable travel time.

Each service must be invoiced separately.

Service Contractor must employ, at minimum fifteen (15) HVAC Technicians who possess a minimum of one year journeyman level experience as a heating, air conditioning and refrigeration mechanic and in possession of the Environmental Protection Agency (EPA) Universal Technician Certification (as required under Section 608 of the Clean Air Act, 1990).

The City reserves the exclusive right to purchase parts or equipment directly and have the Service Contractor install the item(s) at the specified billing rate. The City also reserves the right to perform any of the work covered under a specific task order with its own personnel if it is in the City's best interest to do so.

Miscellaneous Provisions:

Service Contractor shall warrant all labor, parts and equipment for forty-five (45) days unless manufacturer warranty/guarantee is greater.

Any parts, equipment, adjacent finishes or other property damaged by the Service Contractor in the course of maintenance and repair services or as a result of faulty workmanship shall be repaired or replaced at no cost to the City.

Any spillage or exchanged oil, refrigerants, chemicals, etc. shall be the responsibility of Service Contractor and disposed of in accordance with State and Federal guidelines.

DC/NIH Covid-19 Guidelines are in effect. The Contractor shall adhere to current guidelines as directed by the City. All Service Contractor’s personnel shall wear a face mask/face covering at all times while in a City of Mobile building, adhere to current social distancing guidelines, and note that temperature checks may be conducted.

END OF SECTION